# Wiki Audit Report

Date: 2026-04-23

Files audited: 54 (16 products, 13 controls, 5 guides, 5 comparisons, 5 applications, 1 glossary, 1 index, 19 image-descriptions — excluding tests/ and CLAUDE.md)

Issues found: 47

## 1. Structural Issues

### 1a. Frontmatter problems (missing or invalid fields)

| File | Issue |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| products/hurricane-turbine.md | Uses sku_family instead of required sku field |  |  |  |  |
| controls/tfd-1.md | Missing vfd, location, fans_controlled (required by control template) |  |  |  |  |
| controls/lvc.md | Missing vfd, location, fans_controlled (uses custom max_fans, max_cable_length instead) |  |  |  |  |
| controls/wind-sensor.md | Missing vfd, location, fans_controlled |  |  |  |  |
| controls/jazz-hmi.md | Missing vfd, location |  |  |  |  |
| controls/jazz-multifan-hmi.md | Missing vfd, location |  |  |  |  |
| controls/smartair.md | Missing location |  |  |  |  |
| controls/touchair.md | Missing vfd, location |  |  |  |  |
| controls/smartair-multifan.md | Missing vfd, location |  |  |  |  |
| controls/schneider-vfd.md | category: vfd — not one of the template values (`vfd-package\ | hmi\ | zone-controller\ | sensor\ | relay`) |
| guides/electrical-install-lenze.md | category: installation — template says `{electrical\ | mounting\ | maintenance\ | warranty}` |  |
| guides/electrical-install-schneider.md | category: installation — same mismatch |  |  |  |  |
| guides/mounting-general.md | category: installation — should be mounting per template |  |  |  |  |
| guides/warranty.md | category: commercial — should be warranty per template |  |  |  |  |
| All 19 image-descriptions/*.md files | Missing id field (all use source_pdf instead of source_docs), missing last_verified field |  |  |  |  |

### 1b. Broken source_doc references

| File | source_doc listed | File exists in raw_text/? |
| --- | --- | --- |
| guides/warranty.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — actual file is Envira-North 2025__Catalogue__EN__Rev-03__11.27.2025 (pdfplumber).txt (different underscores, different revision, includes date) |
| guides/maintenance-schedule.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| guides/mounting-general.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| comparisons/sailfin-geared-vs-gearless.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| applications/dairy-barn.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| applications/warehouse.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| applications/manufacturing.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| applications/arena-gym.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |
| applications/agricultural-general.md | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt | NO — same |

Root cause: 9 files reference Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt but the actual file in raw_text/ is Envira-North 2025__Catalogue__EN__Rev-03__11.27.2025 (pdfplumber).txt. Either the filename changed when a newer revision was extracted, or it was transcribed incorrectly during wiki compilation. All 9 references should be updated to the actual filename.

### 1c. Reverse coverage (raw_text files not used by any wiki page)

| raw_text file | Referenced by any wiki page? |
| --- | --- |
| Altra-AirSailfin_Design&Engineering_2022 (1) (pdfplumber).txt | NO — download duplicate of the non-(1) version |
| EN921X8240 Altra-AirSailfin_Geared&Gearless_InstallationGuide_11142024 (1) (pdfplumber).txt | NO — download duplicate of the non-(1) version |

These appear to be download duplicates (the (1) suffix). Low risk — but should be confirmed and either deleted from raw_text/ or noted as intentional duplicates.

### 1d. Broken cross-references (frontmatter slugs)

This is a systemic issue. Controls, comparisons, and guides use generic family slugs (sailfin-geared, sailfin-gearless) that do not resolve to any wiki file. Only size-specific files exist (e.g., sailfin-geared-24ft.md).

| File | Broken slug | Field |
| --- | --- | --- |
| controls/essentialair.md | sailfin-geared, sailfin-gearless | works_with |
| controls/commandair.md | sailfin-geared, sailfin-gearless | works_with |
| controls/zoneair.md | sailfin-geared, sailfin-gearless | works_with |
| controls/modair.md | sailfin-geared, sailfin-gearless | works_with |
| controls/smartair.md | sailfin-gearless, sailfin-geared | works_with |
| controls/smartair-multifan.md | sailfin-gearless, sailfin-geared | works_with |
| controls/schneider-vfd.md | sailfin-geared, sailfin-gearless | works_with |
| controls/touchair.md | (does not list any sailfin slug at all) | works_with |
| controls/lvc.md | sailfin-geared, sailfin-gearless | works_with |
| controls/tfd-1.md | sailfin-geared, sailfin-gearless | works_with |
| controls/wind-sensor.md | (no sailfin slugs listed) | works_with |
| comparisons/sailfin-geared-vs-gearless.md | sailfin-geared, sailfin-gearless | compares |
| guides/electrical-install-lenze.md | sailfin-geared, sailfin-gearless | applies_to |
| guides/electrical-install-schneider.md | sailfin-geared, sailfin-gearless | applies_to |
| guides/warranty.md | sailfin-geared, sailfin-gearless | applies_to |
| guides/maintenance-schedule.md | sailfin-geared, sailfin-gearless | applies_to |
| guides/mounting-general.md | sailfin-geared, sailfin-gearless | applies_to |
| products/aisle-air.md | modbus | controls_compatible — modbus is a protocol, not a control file |
| products/ecopower.md | bms-generic | controls_compatible — bms-generic does not exist as a control file |

Decision needed: Either (a) create stub files products/sailfin-geared.md and products/sailfin-gearless.md as family index pages, or (b) change all generic slugs to list every size explicitly (e.g., [sailfin-geared-8ft, sailfin-geared-12ft, ...]), or (c) formally document that generic family slugs are an accepted convention. Option (c) is recommended — add a note to CLAUDE.md that sailfin-geared and sailfin-gearless are valid family-level slugs that refer to all sizes.

### 1e. Bidirectional relationship mismatches

| File A | Field (A) | File B | Field (B) | Issue |
| --- | --- | --- | --- | --- |
| controls/touchair.md | works_with: [schneider-vfd, modair, jazz-fan] | All Sailfin products | controls_compatible includes touchair | TouchAIR does not list any Sailfin product in works_with, but every Sailfin product lists TouchAIR as compatible |
| controls/essentialair.md | works_with: [sailfin-geared, sailfin-gearless] | Gearless Sailfin products | controls_compatible | EssentialAIR claims to work with gearless, but NO gearless Sailfin product lists essentialair in controls_compatible |
| controls/commandair.md | works_with: [sailfin-geared, sailfin-gearless] | Gearless Sailfin products | controls_compatible | Same — CommandAIR claims gearless compatibility, but gearless products don't list it |
| controls/zoneair.md | works_with: [sailfin-geared, sailfin-gearless, lvc, tfd-1] | Gearless Sailfin products | controls_compatible | Same — ZoneAIR claims gearless compatibility, but gearless products don't list it |
| controls/wind-sensor.md | works_with: [lvc, smartair, smartair-multifan] | Applications (dairy-barn, arena-gym, agricultural-general) | recommended_controls includes wind-sensor | Wind sensor doesn't list any product in works_with — it lists controls instead. Bidirectional link to products is missing entirely. |

Key finding: Lenze-based controls (EssentialAIR, CommandAIR, ZoneAIR) claim compatibility with gearless Sailfin, but gearless Sailfin products only list Schneider-path controls (SmartAIR, TouchAIR, Schneider VFD, LVC, ModAIR). This may be a genuine product constraint (gearless = Schneider only) or an omission. Requires verification with Envira-North.

### 1f. Broken inline markdown links

| File | Link text | Target path | Exists? |
| --- | --- | --- | --- |
| (none found) | — | — | — |

Wiki pages either don't use inline markdown links or use them correctly. No broken links detected. Note: CLAUDE.md recommends linking on first mention but most wiki pages don't follow this convention yet.

### 1g. Missing from index.md

| File | Expected index entry |
| --- | --- |
| products/sailfin-gearless-8ft.md | File exists but is NOT listed in index.md. Index has a note: "source documents do not include an 8 FT gearless Sailfin" — but the file exists with sku: EN670X5002 and full specs. Either add it to the index or remove the file. |

### 1h. Orphaned files

| File | Reason |
| --- | --- |
| products/sailfin-gearless-8ft.md | Not in index.md, contradicts index note. However, it IS referenced by sailfin-gearless-12ft.md in related and by sailfin-geared-8ft.md in inline links. |

### 1i. Unverified callouts requiring review

| File | Section | Callout text |
| --- | --- | --- |
| (none found in wiki content pages) | — | — |

No > **Unverified:** callouts exist in any wiki page. However, comparisons/sailfin-geared-vs-gearless.md contains an inline note about blade alloy discrepancy (6005-T61 vs 6063-T5) that should be formally marked as Unverified.

### 1j. Stale files (last_verified > 90 days)

| File | last_verified | Days stale |
| --- | --- | --- |
| All 19 image-descriptions/*.md files | (field missing entirely) | N/A — no last_verified field exists |

All other wiki files have last_verified: 2026-04-11 (12 days ago). No staleness issues for non-image-description files.

### 1k. Missing glossary terms

| Term | Used in file(s) | Defined in glossary.md? |
| --- | --- | --- |
| BMS | controls/touchair.md, applications/warehouse.md | NO — glossary defines BAS but not BMS (Building Management System) |
| BLDC | products/aisle-air.md (brushless DC) | NO |
| LED | Multiple gearless Sailfin products, Jazz fan | NO (widely known, but used as a spec differentiator) |
| FlexAIR | glossary.md (NEMA4X entry mentions it) | Mentioned but has no product/control wiki page — may confuse readers |
| Direct-Air | glossary.md (ECM entry mentions it) | Mentioned but has no product/control wiki page |

## 2. Hallucination Check

### 2a. Unverified claims (not found in source_docs)

| Wiki File | Section | Claim | source_doc checked |
| --- | --- | --- | --- |
| products/ecopower.md | Specs | Detailed CFM, power, voltage, and dimensions are sparse — most specs noted as "not reliably captured" from OCR source | EN921x8220_EcopowerBrochure_20150119 (pdfplumber).txt |
| guides/maintenance-schedule.md | Alite 3 section | "Routine maintenance not fully documented in the source (OCR gap)" — the wiki itself acknowledges this gap | Alite3Brochure2018 (pdfplumber).txt |
| guides/warranty.md | All sections | References Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt which does not exist — claims sourced from this file cannot be verified | (file does not exist) |
| guides/maintenance-schedule.md | Hurricane section | Hurricane maintenance rules cited but source_docs listed may not all cover Hurricane | Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt (does not exist) |
| products/sailfin-gearless-8ft.md | Specs | Shares identical specs with 12ft gearless (same CFM 59,494, same power 782W, same weight 99 kg) — unusually similar for different sizes. Needs verification. | Altra-AirSailfinGearless_Design&Engineering_202215YearWarranty (pdfplumber).txt |

### 2b. Contradicted claims (conflicts with source_docs)

| Wiki File | Section | Wiki says | Source says | source_doc |
| --- | --- | --- | --- | --- |
| comparisons/sailfin-geared-vs-gearless.md | Blade material | Notes discrepancy: installation guide says 6005-T61 aluminum | D&E guides say 6063-T5 aluminum | Installation guide vs D&E guides — wiki correctly flags this but doesn't mark it as > **Unverified:** |

## 3. Cross-Wiki Conflicts

### 3a. Spec / fact conflicts between wiki files

| File A | File B | Section (A) | Section (B) | File A says | File B says |
| --- | --- | --- | --- | --- | --- |
| products/sailfin-gearless-8ft.md | products/sailfin-gearless-12ft.md | Specs | Specs | CFM: 59,494 / Power: 782W / Weight: 99 kg (220 lbs) | CFM: 70,424 / Power: 782W / Weight: 111 kg (245 lbs) — CFM differs (correct) but 8ft and 12ft share identical RPM (105), power (782W), and HP (2). The 8ft having the same HP/power as the 12ft is plausible for a gearless motor but unusual — verify. |
| products/sailfin-geared-8ft.md | products/sailfin-gearless-8ft.md | HP | HP | HP: 1 (geared 8ft) | HP: 2 (gearless 8ft) — this means a gearless 8ft fan uses double the HP of a geared 8ft. Consistent across all sizes (geared = 1-2 HP, gearless = 2 HP for all sizes). Plausible design choice but worth confirming. |

### 3b. Compatibility conflicts

| File A | File B | Conflict description |
| --- | --- | --- |
| controls/essentialair.md | All gearless Sailfin products | EssentialAIR works_with includes sailfin-gearless, but NO gearless Sailfin product lists essentialair in controls_compatible. Either EssentialAIR is NOT compatible with gearless (products are right) or gearless products are missing EssentialAIR from their list. |
| controls/commandair.md | All gearless Sailfin products | Same conflict — CommandAIR claims gearless compatibility, gearless products don't list it. |
| controls/zoneair.md | All gearless Sailfin products | Same conflict — ZoneAIR claims gearless compatibility, gearless products don't list it. |
| controls/touchair.md | All Sailfin products | TouchAIR works_with lists only [schneider-vfd, modair, jazz-fan] — no Sailfin products. But every Sailfin product lists touchair in controls_compatible. TouchAIR's works_with is incomplete. |
| products/aisle-air.md | controls/touchair.md | Aisle-Air lists touchair in controls_compatible, but TouchAIR's works_with does not include aisle-air. |
| products/aisle-air.md | controls/lvc.md | Aisle-Air lists lvc in controls_compatible, but LVC's works_with does not include aisle-air. |

### 3c. Recommendation conflicts

| File A | File B | Conflict description |
| --- | --- | --- |
| (none found) | — | Application guides' recommendations are consistent with the products and controls they reference. No recommendation contradictions detected. |

## 4. Summary

Structural issues: 33

15 frontmatter field problems (missing/invalid fields per template)

9 broken source_doc references (all same root cause: wrong catalogue filename)

19+ broken cross-reference slugs (systemic: generic family slugs don't resolve to files)

5 bidirectional relationship mismatches

1 file missing from index.md

19 image-descriptions files missing id and last_verified

Reverse coverage gaps: 2 (download duplicates, low risk)

Bidirectional mismatches: 5 (TouchAIR most significant)

Broken inline links: 0

Stale files (>90 days): 0 (but 19 image-descriptions have no date at all)

Missing glossary terms: 3 meaningful (BMS, BLDC, FlexAIR/Direct-Air references)

Unverified claims: 5

Contradicted claims (vs source): 1 (blade alloy 6005-T61 vs 6063-T5)

Cross-wiki conflicts: 6 (Lenze controls vs gearless compatibility is the most significant)

### Recommended actions (priority order)

Fix broken source_doc filename — Update all 9 files referencing Envira-North 2025__Catalogue_EN__Rev-01 (pdfplumber).txt to the actual filename Envira-North 2025__Catalogue__EN__Rev-03__11.27.2025 (pdfplumber).txt. This is the highest-risk issue: claims in warranty, maintenance, mounting, and 5 application guides currently cannot be verified.

Resolve Lenze ↔ gearless compatibility conflict — Verify with Envira-North whether EssentialAIR, CommandAIR, and ZoneAIR are compatible with gearless Sailfin fans. Update either the control files' works_with or the product files' controls_compatible accordingly.

Fix TouchAIR `works_with` — Add Sailfin products (or generic family slugs if convention is adopted) to TouchAIR's works_with list. Currently it only lists [schneider-vfd, modair, jazz-fan] despite being compatible with all Sailfin fans.

Decide on generic family slugs — Either (a) add a CLAUDE.md convention that sailfin-geared and sailfin-gearless are valid family-level slugs, or (b) expand all works_with/applies_to/compares to list every size. Recommend option (a) for maintainability.

Resolve sailfin-gearless-8ft.md status — Either add it to index.md or remove the file. Its existence contradicts the index note.

Update image-descriptions frontmatter — Add id and last_verified fields to all 19 image-descriptions files, and standardize source_pdf to source_docs format.

Add `> Unverified:` callout to the blade alloy discrepancy in sailfin-geared-vs-gearless.md.

Verify gearless 8ft specs — The 8ft gearless sharing identical specs (HP, power, RPM) with the 12ft gearless is unusual. Confirm against source docs.

Standardize guide category values — Align category fields with the template enum (electrical, mounting, maintenance, warranty).

Add BMS to glossary — It's used in wiki text but not defined.